## RABILL-01 (hidden)
THE LAWRENCE SCHOOL , LOVEDALE
WORK DONE STATEMENT
Name of Work :Dismantling & re – fabrication of temporary stables & Engineering stores
S. No | Category | Description of work | Unit | Nos | L | B | D | Quantity | Rate | Amount
A | Temporary Stables
1 | Demolition | Demolition of Concrete in ground floors and paving’s not exceeding 15 cm thickness (below or above ground level) | Cum
|  | Partition 1-4 |  | 1 | 13.3 | 4.4 | 0.05 | 2.926
|  | M/LS/EM/AWT/505 | [5 empty] | 2.926 | 761 | 2226.686
2 | Refabrication | Labour charges towards re fabrication of GI Sheet covering for butteress provision over Wet land no:2.Note:Necessary items like GI Sheets,GI Pipes,MS Angles are available at site.Necessary fixtures like j Bolt,Bolt/Nuts/Screws,welding rods etc is under vendors scope | Sft | [7 empty] | Demolition of Concrete in ground floors and paving’s not exceeding 15 cm thickness (below or above ground level)
|  | Partition outer |  | 1 | 13.3 | 3.12 | 10.76 | 446.497
|  | Internal partition Avg.Ht |  | 3 | 4.4 | 3.4 | 10.76 | 482.9088
[8 empty] | 929.4058 | 31.36 | 29146.1646
3 | PCC 1:4:8 | Material and Labour for laying PCC 1:4:8 | Cum
|  | Partition 1-4 |  | 1 | 13.3 | 4.4 | 0.1 | 5.852
[8 empty] | 5.852 | 4659.43 | 27266.9844
3 | Painting | Material and Labour for applying synthetic enamel paint of one coat over the GI sheet with primer for uniform and smooth surfaces, all as specified and as directed. | Sqm
|  | Partition outer |  | 2 | 13.3 | 3.12 |  | 82.992
|  | Internal partition Avg.Ht |  | 6 | 4.4 | 3.4 |  | 89.76
|  | M/LS/EM/AWT/505 | [5 empty] | 172.752 | 81 | 13992.912
4 | Internal Painting | Material and Labour for One coats of oil bound distemper in all walls, over a coat of primer all as specified and as directed. Including preparation of old plastered surfaces. | Sqm
|  | Partition1-4 |  | 1 | 13.3 | 2.9 |  | 38.57
|  | wall |  | 2 | 4.4 | 3.4 |  | 29.92
[8 empty] | 68.49 | 81 | 5547.69
5 | weld mesh | Removing and fixing of M.S. grills made out of welded mesh 2"x 2"X 10 Gauge thick including fabrication such as cutting, bending, drilling for the required holes etc and complete.(WO No :M/LS/EM/RSQ/371 - 001 Date: 17/05/2016) | Sqm
|  | Partition-1-4 |  | 1 | 13.3 | 0.5 |  | 6.65
|  | Deduction wall |  | -3 | 0.5 | 0.5 |  | -0.75
[8 empty] | 5.9 | 186.22 | 1098.698
|  | Total | [7 empty] | 79279.135

## Tender
Annexure - II
THE LAWRENCE SCHOOL , LOVEDALE
TENDER SCHEDULE
EOI No : EOI/LS/EM/RSQ/602 Name of the work : Renovation of staff quarter No. PS-O-1 Last Date for Submission : 30.04.2021 before 3 pm Period of Completion : 45 Days
S. No | Category | Description of work | Qty | Unit | Rate | Amount
A | Civil Works
1 | Removing & relaying of roof tiles | Removing existing roof tile (Mangalore pattern clay tiles), cleaning the roof tiles, replacing the damaged reapers with second class reapers and relaying of roof tiles. Note: 1. To handle with care and ensure there is no breakage of roof tiles. 2. In case of broken tiles, the contractor can collect the roof tiles from school storing yard | 96 | Sqm
2 | Removal & replacement of existing CGI sheet | Removal and relaying of existing Galvanized corrugated mild steel sheeting with two corrugation side lap, fixed with SDST screws, washers, in roofs, walls etc of following classes including PGI Ridge. | 52 | Sqm
3 | Removal & replacement of new CGI sheet | Removal and replacement of new Galvanized corrugated mild steel sheeting with two corrugation side lap, fixed with SDST screws, washers, in roofs, walls etc of following classes. Including PGI Ridge sheets of 450mm overlap on either side etc: Thickness of sheet 0.50 mm. Note: lap will not be measured separately, to be included in the rate. Make of CGI sheet - TATA | 22 | Sqm
4 | Removal of wooden Scantlings | Taking down old scantlings of rafter, purlin & columns of any description & storing the same at specified location. | 1.06 | Cum
5 | Wooden Scantlings | Only labour charges for fixing of plain, solid, straight Sal wood door frames, wrought, framed rebated on the solid, rounded or chamfered, put together with glue pinned at joints. Note: Wooden frames will be supplied by the School, contractor has to re-sized the wooden frames | 1.26 | Cum
6 | Excavation | Excavating in trenches, not exceeding 1.5m wide and not exceeding 1.5m in depth; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc. not exceeding 10sq m on plan and not exceeding 1.5m in depth and getting out hard and dense soil. | 20 | Cum
7 | Earth Removal | Removing excavated material and depositing with in 1.5KM radius as directed by Engineer In-Charge | 15 | Cum
8 | Demolition | Demolition/ dismantling of Concrete in ground floors, RR Masonry, Brick wall, etc., & paving’s not exceeding 15 cm thickness (below or above ground level) | 7 | Cum
9 | Brick work | Material and Labour for Brickwork with subclass `B' bricks, straight or curved on plan exceeding 6m mean radius, built in CM (1:6). | 9.2 | Sqm
10 | Plastering | Material and labour for plastering with cement mortar 1:5 to 12 mm thick in brick walls etc and finishing the surfaces even and fair without using extra cement, including curing, finishing etc, and complete. Cement Grade - PPC 53 of Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR | 102 | Sqm
11 | PCC 1:2:4 | Material and Labour for Cement concrete type B-0, 1:2:4 (12.5 mm graded aggregate) as in floor finishes, coving, as leveling course, etc. Cement Grade - PPC 53 of Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR | 5.28 | Cum
12 | Vitrified tiles | Supplying and fixing of 600 x 600 MM nonskid FULLY vitrified tiles of 10 mm thick over 25 mm thick cement mortar 1:3 and pointing with same colour cement added with coloring pigments. Make: SOMANY / JOHNSON MAKE of approved model "WOOD PLANKO" | 46.32 | Sqm
13 | Toilet floor tiles | Material and Labour for Screed bed or bedding layer of CM (1:4) layer of mortar 20mm thick for laying floor finishes over Non Skid/Mat finish ceramic tiles (300x300mm) x7 mm thick, in floors etc. set and jointed in neat cement slurry and pointed in white or coloured cement to match. Make: SOMANY/JOHNSON/KAJARIA of approved shade and design. | 7.56 | Sqm
14 | Toilet wall tiles | All as per item No: 13 here in before but on vertical surfaces etc. But Glazed ceramic tiles of sixe 300 x 450 x 7 mm thick including 15 mm thick plastering in CM (1 : 4) even and coarse to receive wall finishes etc. Make: SOMANY/JOHNSON/KAJARIA of approved shade and design. | 36.78 | Sqm
15 | Door window repair | Labour only for altering the existing windows/doors, by means of removal of existing shutters and fixed in the opposite side of frame including rebating the side of frame to fix the shutters including necessary hinges and other mongeries like handle and tower bolt etc. | 12 | Nos
16 | Aluminium Ventilator | Supply and fixing of sliding Anodized Aluminium ventilator shutters/louvers with extrude section with rubber beading in middle 4mm Plain glass with outer frame etc., aluminium section weighing 0.55kg/m including necessary joining cleats, glazing clips, rubber packing, anodized alumnium snap beading, screws, other filling material like silicon in panels and gap between masonry and aluminium windows shall be inclusive of this rate. | 0.72 | Sqm
17 | Glass pane | Material and Labour for fixing of Sheet glass 4 mm thick, ordinary quality and glazing with oil putty in square / Wooden Beading etc in each pane. Including cleaning of edges and panes etc. All as specified and as directed. | 8 | Sqm
18 | Glass pane cleaning | Labour only for cleaning of glass panes of doors, windows and ventilators etc | 5 | Sqm
19 | Cuddapah stone | Supplying and Laying of 20mm thick cuddapah slab of approved shade slab with high polish in 1:4, 20mm thick rich cement sand plaster backing with white cement in area of lighter color. Rate to include for laying Cuddapah to the pattern as directed by Architect/Consultant including curing, etc. The rate to include chipping & screed flooring correction level with the laid carpet level if need. The finished floor to be covered with thick plastic and thick layer of POP for floor protection. Cost should include housekeeping & cleaning for the cuddapah flooring till the handover. | 3.6 | Sqm
20 | Re-Inforcement | Supplying and erection of reinforcement inclusive of Labour charges for cutting, straitening, fabricating and fixing in position MS bars conforming to IS-432 / High yield strength deformed bars (Tor Steel) conforming to IS-1786 of Fe 500 Grade / for Pro Steel confirming to IS-1786 of Fe550 of all diameter for reinforcement in all RCC in situ works including flooring and precast works at all levels and heights above finished floor level for plinth beam, columns, roof beam, roof slab, lintel, sunshade, loft, drops, sill level slab and etc., and for foundations, trenches, pits, lift pits etc., below finished floor level including cost of straightening, cutting, bending to shape fabricating and tying with 18 gauge GI binding wire, providing and fixing cement cover blocks, dewatering wherever necessary etc., all complete as per drawings and specifications and as directed by the Engineer. The rate to include cost of steel, binding wire, cement cover blocks, all cuts and wastes which will not be measured. Only laid weight will be measured including authorized laps. Cuts and wastes will not be measured for payment. Quoted Rate including of all laps, spacers, chairs etc., Make: TATA / SAIL / JSW | 50 | Kgs
21 | RCC 1:2:4 | Providing and laying RCC (1:2:4)reinforced cement concrete using 20 MM coarse graded aggregate as in Cover slab etc in specified thickness as directed including form work where necessary and well compacted etc. Cement Grade - OPC 53 of Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR | 1 | Cum
22 | Internal Emulsion Painting | Material and Labour for colour washing two coats of tractor emulsion (Asian paints) on existing surfaces on wall over a coat of primer including PATCH PUTTY for uniform and smooth finished surfaces of the walls, including scraping and clearing the existing peel off paint etc all as specified and as directed. Make - Asian paints | 222.96 | Sqm
23 | External Apex painting | Material and Labour for colour washing two coats of APEX painting (Asian paints) on existing surfaces on wall over a coat of primer including PATCH PUTTY for uniform and smooth finished surfaces of the walls including scraping and clearing the existing peel off paint etc all as specified and as directed. Make - Asian paints | 224.74 | Sqm
24 | Enamel Painting on steel/wooden surfaces | Material and labour Painting two coats of synthetic enamel paint (Asian) in Wooden/metal surfaces over a coat of primer including preparation of old surfaces etc. and complete. Make - Asian paints | 255.58 | Sqm
25 | Curtain rod | Supply and fixing of PVC curtain rods with brackets, end caps, clamps, etc., (Drapery Rod bracket) similar to that of the brackets and rod provided in the school campus. | 22.8 | Rmt
26 | 63 mm PVC Pipes | Supply and Fix for PVC pipes single socketed, in any length with rubber ring joints laid in trenches or in floors bore of pipe 63 mm 6 Kg per Cm2 including Special like socket, elbow with door, tee and "Y" Junction etc Make - Finolex / Supreme | 12 | Rmt
27 | 110 mm PVC Pipes | Supply and Fix for PVC pipes single socketed, in any length with rubber ring joints laid in trenches or in floors or in walls ,bore of pipe 110 mm 6 Kg per Cm2 pressure including Special like socket, elbow with door, tee and "Y" Junction etc. All the joint s to be provided with access door where necessary. Make : Finolex or Supreme | 18 | Rmt
28 | Kitchen sink | Supplying and fixing in position of stainless steel sink without drain board of size 600mm length x 450 mm width x 200mm depth X 1 mm heavy duty with all accessories such as 32 mm CP waste coupling, 32 mm waste pipe, 15 mm angle valve, 15 mm nipples, 15 mm pillar tap etc., Make : TATA or Equivalent | 1 | No
29 | Water line | Supply and laying of 1/2" CPVC pipe with necessary fittings like Elbow,Tee, coupling,Reducer, etc., Make Finolex/Supreme | 20 | Mtr
30 | Water line | Supply and laying of 3/4" UPVC pipe with necessary fittings like Elbow,Tee, coupling,Reducer,etc., Make Finolex/Supreme | 20 | Mtr
31 | Angle Valve | Supply and fixing of open/concealed 1/2" angle valve with fittings etc Make Metro Omega | 9 | Nos
32 | Wall Mixture | Supply and fixing of 2 in 1 wall mixture with necessary over head shower with fittings etc Make Metro model X PERIA MXP 9928B | 2 | Nos
33 | Sink mixture | Supply and fixing of sink mixture with necessary fittings etc Make Metro Omega MSR 1622/2451 | 1 | No
34 | Health Faucet | Supply and fixing Health faucet with fittings etc Make Jaquar ALD573 | 2 | Nos
35 | Floor trap | Supply and Fix PVC floor trap plain with grating including jointing with solvent cement including 75 mm bore out let pipe up to the existing drain | 2 | Nos
36 | Vent Cowl | Supply and Fixing of 110mmn diameter PVC vent cowl for the existing septic tank as directed by engineer in charge | 1 | No
37 | GI Manhole cover | Supply and fixing for GI Manhole covers with frame etc of size 60 x 60 CM . All as directed . | 1 | No
38 | Mirror | Supply and fixing of bath room mirror (2' x 1'6") of selected quality glass, mounted on 6mm thick commercial plywood and teak wooden outer frames, polishing, fixed to wooden plugs with chromium plated brass screws and cup washers. As per approved sample | 2 | Nos
39 | Towel rod | Towel rail 600mm long of CP Brass pipe of diameter 20 mm fixed with and including Chromium plated brass screws over wooden/plastic cleats / Rawal plug etc. All as specified and as directed. Make - Parryware | 2 | Nos
TOTAL (A) - CIVIL WORKS
B | ELECTRICAL WORKS
40 | Earth Pits | Supply and Providing 2" dia 6 feet length CI earth pipe with 2x2' GI chamber and necessary charcoal and salt, GI cover,with 8 swg ghf13 copper flats 20 meter etc | 1 | No
41 | Wiring | Supply and fixing of open/concealed wiring 4.0 Sqmm wire 2 run and 1.5 sqmm 1 run with necessary fittings etc Make Havel/Finolex | 60 | Mtr
42 | Light point | Supply and fixing of 10 amps modular switch light point with wire 2 run and 1.5 sqmm 1 run 1.0 sqmm in the length of 6 meter with necessary fittings etc , Makes Havels Coral | 15 | Points
43 | Power points | Supply and fixing of open/concealed 16 amps modular switch socket with metal box,face plate, fittings etc Make Havel/Finolex | 15 | Points
44 | Tube light | supply and fixing of 20 watts LED tube light fitting (Havels Pride plus). | 8 | Nos
45 | Foot lamp | Supply and fixing of LED foot lamp 2/3 module with fittings Make - Havels | 2 | Nos
46 | Telephone wiring | Supply and fixing of open/concealed 2 pair telephone cable in 3/4" PVC pipe with necessary fittings etc Make Havel/Finolex | 30 | Mtr
47 | Telephone socket | Supply and fixing of open/concealed Telephone modular socket with metal box,face plate, fittings etc Make Havels Coral | 2 | Nos
48 | TV cable | Supply and fixing of open/concealed RG 6 coaxial TV cable in 3/4" PVC pipe with necessary fittings etc Make Havel/Finolex | 20 | Mtr
49 | TV socket | Supply and fixing of open/concealed TV modular socket with metal box,face plate, fittings etc Make Havel Coral | 1 | No
50 | PVC Exhaust fan | Supply and Fixing of Exhaust fan PVC type 9 inch size all as specified and as directed. Make : Havells / Crompton | 2 | Nos
51 | Exhaust fan | Supply and Fixing of Exhaust fan heavy duty metal fan of 9 inch all as specified and as directed. Make : Havells / Crompton | 1 | No
TOTAL (B) - ELECTRICAL WORKS
TOTAL (A+B)
ADD GST 18%
GRAND TOTAL
Signature of the Contractor
| Note: | * Any additional input/submissions / terms & conditions may be attached as enclosures to this quote. * Column F, G and row no 64 are editable