## Price bid
THE LAWRENCE SCHOOL , LOVEDALE
TENDER SCHEDULE / PRICE BID
Name of Work : Renovation of toilet-2 Nos at staff quarters no.PS-I-07(Currently occupied by Nidhi Mishra)
| Category | Description of work | Qty | Unit | Rate | Amount
1 | Excavation in trench | Excavating in trenches, not exceeding 1.5m wide and not exceeding 1.5m in depth for foundation, etc., or for shafts, wells, cess pits, manholes, pier holes, etc., not exceeding 10sq m on plan and not exceeding 1.5m in depth and getting out hard and dense soil. | 5 | Cum
2 | Earth removal | Removing excavated material and depositing with in 1.5KM radius all as specified and directed by the Engineer In-Charge. | 5 | Cum
3 | Demolition | Demolition/ dismantling of Concrete in ground floors , RR Masonry, Brick wall etc and paving’s not exceeding 45 cm thickness (below or above ground level) | 3 | Cum
4 | Roughening | Roughening surface of old concrete/stone floor/wall by picking, sweeping cleaning and washing down with water to remove dust, etc. Applying cement screed @ 3.00 Kg per Sqm | 54 | Sqm
5 | Removal of Tiles | Chipping & removal of tiles from walls & racking out joints, Hacking for key & down with water, etc. 30 mm deep & lift of 4 m. | 54 | Sqm
6 | Debris | Clearing the debris generated in this work to be transported from the site and deposited with in 2KM radius as specified and directed by the Engineer in Charge | 6 | Cum
7 | PCC 1:2:4 | Material and Labour for Cement concrete in PCC (1:2:4) Type B1 using 20 mm graded stone aggregate in floor, plinth etc. with red oxide finish on top. Cement Grade - PPC 53. Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR/RAMCO | 4 | Cum
8 | Brick work | Material and Labour for Brickwork with subclass `B' bricks, straight or curved on plan exceeding 6m mean radius, built in CM (1:6) | 1 | Cum
9 | Half Brickwork | Material and Labour for Half Brick thick brick wall with subclass `B' bricks, straight or curved on plan exceeding 6m mean radius, built in CM (1:4) | 10 | Sqm
10 | Plastering | Material and Labour for plastering 15 mm thick in CM(1:5) on fair / other than fair faces of brick work or concrete surfaces including finishing the surfaces even and smooth without using extra cement, including necessary scaffolding, etc., all as directed by the Engineer in-charge. Cement Grade - PPC 53 Make –ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 120 | Sqm
11 | Anti-skid floor tiles | Material and Labour for Screed bed or bedding layer of CM (1:4) layer of mortar 20mm thick for laying floor finishes over Non Skid vitrified tiles (600x600mm) x 8mmm thick, in floors etc. set and jointed in neat cement slurry and pointed in white or colored epoxy grout. Make: SOMANY / JOHSON / KAJARIA / ORIENT BELL MAKE of approved model | 10 | Sqm
12 | Glazed wall tiles | All as per item No 11 here in before but in vertical surfaces glazed ceramic tiles (300x450mm) x8mmm thick Ditto. Make: SOMANY / JOHSON / KAJARIA / ORIENT BELL MAKE of approved model | 54 | Sqm
13 | Internal Wall painting | Material and Labour for colour washing Two coat of tractor emulsion on newly plastered surfaces on wall over a coat of primer including patch putty for uniform and smooth finished surfaces of the walls etc all as specified and as directed, including necessary scaffolding etc., Make - Asian paint | 20 | Sqm
14 | External Apex Painting | Material and Labour for two coats of Apex exterior paint over a coat of primer on newly plastered surfaces, including preparation surfaces, etc., in all walls all as specified and as directed including preparation of new surfaces. Make - Asian paints | 20 | Sqm
15 | Enamel painting | Material and labour for two coat of synthetic enamel paint over a coat of Primer on wooden/Steel surfaces including preparation of surfaces etc. including necessary scaffolding Make - Asian paint | 20 | Sqm
16 | UPVC door/Ventilator | Supply and fix for UPVC door/ventilator with necessary frame as per manufacture or instruction including rails, styles, sash bar, rubber beading etc and glass of approved design. Make - Eiti / Alphine / Eagle. | 1 | Sqm
17 | FRP Door | Supplying and fixing of FRP doors with the requisite and approved sections for frames and doors with steel aldrop (power coated) 1 No, Handle - 2 Nos, Tower bolt - 1 No, Hinges - 3 Nos all as specified and as directed by the Engineer in charge. Size:2.5'*7' | 2 | Nos
18 | Tap | Supply and Fixing for long body heavy duty Bib taps of cast copper alloy, chromium plated, screwed for iron pipe and fixed. Make : Metro omega | 2 | Nos
19 | Angle valve | Supplying and fixing in position of C.P. Angle valve 15mm heavy duty / Viking including CP cups, cutting, threading etc., Make : Metro omega | 12 | Nos
20 | Pipe | Supply and fixing of 3/4 UPVC pipe, fittings with necessary clamp etc Make : Supreme/Finolex | 30 | RM
21 | Pipe | Supply and fixing of 3/4 CPVC pipe, fittings with necessary clamp etc, Make Finolex/Supreme | 10 | RM
22 | Water line | Supply and laying of 1" UPVC pipe with necessary fittings like Elbow,Tee, coupling,Reducer Make Finolex/Supreme | 20 | Mtr
23 | Ball valve | Supply and fixing of 3/4" ball valve with fittings etc. Make Leader | 2 | Nos
24 | Ball valve | Supply and fixing of 1" ball valve with fittings etc. Make Leader | 1 | Nos
25 | Floor Trap | Supply and fixing of PVC floor trap plain with grating including jointing with solvent cement 75 mm bore. Make: Finolex / Supreme | 6 | Nos
26 | PVC Pipe75mm dia | Supply and Fix for PVC pipes single socketed, in any length with rubber ring joints laid in trenches or in floors bore of pipe 63 mm including Special like socket, elbow with door, tee and "Y" Junction etc Make – Finolex/Supreme. | 18 | Rmt
27 | 110mm PVC pipe | Supply and Fix for PVC pipes single socketed, in any length with rubber ring joints laid in trenches or in floors bore of pipe 110 mm 6Kg per Cm2 pressure including Special like socket, elbow with door, tee and "Y" Junction etc. Make : Finolex or Supreme | 18 | Rmt
28 | EWC | Supplying and fixing in position of white glazed European water closet with P trap with double flapped seat and seat cover and 10 litre capacity PVC low level flush tank parry ware with necessary accessories, CP down pipe, PVC connection, plumbing connections, etc. MAKE : EWC - PARRYWARE Flush tank – Slim line (or) other PVC tank with dual flush | 2 | Sets
29 | WHB | Supply and fixing of wall mounted wash basin with tap with fittings etc. Make – Parry ware, Model flair no CO499. | 2 | Nos
30 | Wall Mixture | Supply and fixing of 2 in 1 wall mixture with necessary over head shower with fittings etc Make Metro omega | 2 | Nos
31 | Shower head | Supplying and fixing of Shower head Including all necessary Fittings Make – Parry ware, Model - T9934A1 | 2 | Nos
32 | Shower arm | Supplying and fixing of Shower arm 15" including all necessary Fittings. Make – Parry ware. Model - T9802A1 | 2 | Nos
33 | Health Faucet | Supply and fining of Health faucet of selected make and model. Make : JAQUAR - ALD-CHR-573 | 2 | Nos
34 | Towel rod | Towel rail 600mm long of CP Brass pipe of diameter 20 mm fixed with and including Chromium plated brass screws over wooden/plastic cleats / rawal plug etc. All as specified and as directed.. Make:Parryware | 2 | Nos
35 | Mirror | Supply and fixing of bath room mirror (2' x 1'6") of selected quality glass, mounted on 6mm thick commercial plywood and teak wooden outer frames, polishing, fixed to wooden plugs with chromium plated brass screws and cup washers as per approved sample | 2 | Nos
36 | Wiring | Supply and laying concealed 3/4" conduit pipes with 2 run of 4.0 sqmm wire, one run of 2.5sqmm wire and fittings, etc., Make: Finolex/Havels | 30 | Mtrs
37 | Light Point | Supply and fixing of 10 amps one way modular switch with flush metal GI box, combined plate light control switch with holder or ceiling rose, junction box,casing & capping, elbow/bend fittings, maximum 06 meters length of 1.0 sq mm wire of 2 run. Make: Havels coral. | 6 | Pnts
38 | Power Socket | Supply and fixing of 16 amps 5 pin socket power points with 16 Amps modular switch and socket, metal box, casing & capping, cover plate elbow / bend Make: HavelsCoral | 5 | Pnts
39 | Exhaust fan | Supply and fixing 150 mm Square type pvc exhaust fan with necessary fitting etc. Make : Havels | 1 | Nos
40 | Exhaust fan | Supply and fixing of 9" metal type exhaust fans Make - Havels | 1 | Nos
41 | Telephone wiring | Supply and fixing of open/concealed 2 pair telephone cable in 3/4" PVC pipe with necessary fittings etc Make Havel/Finolex | 40 | Mtr
42 | Telephone socket | Supply and fixing of open/concealed Telephone modular socket with metal box,face plate, fittings etc Make Havel Coral | 3 | Nos
43 | Tube light | Supply and fixing of 30 watts LED tube light fitting on the wall. Make Havels. | 5 | Nos
TOTAL
GST @ 18%
GRAND TOTAL
Signature of the Contractor