## Price Bid
THE LAWRENCE SCHOOL , LOVEDALE
TENDER SCHEDULE / PRICE BID
Name of Work: Renovation of Toilets and showers at Girls school
S. No | Category | Description of work | Qty | Unit | Rate | Amount
A | CIVIL WORKS
1 | Excavation in trench | Excavating in trenches, not exceeding 1.5m wide and not exceeding 1.5m in depth for foundation, etc., or for shafts, wells, cess pits, manholes, pier holes, etc., not exceeding 10sq m on plan and not exceeding 1.5m in depth and getting out hard and dense soil. | 90 | Cum
2 | Earth removal | Removing excavated material and depositing with in 1.5KM radius all as specified and directed by the Engineer In-Charge. | 90 | Cum
3 | Demolition | Demolition/ dismantling of Concrete in ground floors , RR Masonry, Brick wall etc and paving’s not exceeding 45 cm thickness (below or above ground level) all as specified and directed by the Engineer. | 65 | Cum
4 | Roughening | Roughening surface of old concrete/stone floor/wall by picking, sweeping cleaning and washing down with water to remove dust, etc. Applying cement screed @ 3.00 Kg per Sqm | 600 | Sqm
5 | Removal | Taking down old doors/ windows/Ventilaor of any description and removal and storing the same at specified location ( with in 1 KM) as instructed by the Engineer In-charge. | 64 | Nos
6 | Removal of Tiles | Chipping & removal of tiles from walls & racking out joints, Hacking for key & down with water, etc. 30 mm deep & lift of 4 m. | 884 | Sqm
7 | Debris | Clearing the debris generated in this work to be transported from the site and deposited with in 2KM radius all as specified and directed by the Engineer in Charge | 70 | Cum
8 | PCC 1:2:4 | Material and Labour for Cement concrete in PCC (1:2:4) Type B1 using 20 mm graded stone aggregate in floor, plinth etc. with red oxide finish on top all as specified and directed by the Engineer in Charge.Cement Grade - PPC 53. Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR/RAMCO | 26 | Cum
9 | Brick work | Material and Labour for Brickwork with subclass `B' bricks, straight or curved on plan exceeding 6m mean radius, built in CM (1:6) | 15 | Cum
10 | Half Brickwork | Material and Labour for Half Brick thick brick wall with subclass `B' bricks, straight or curved on plan exceeding 6m mean radius, built in CM (1:4) | 40 | Sqm
11 | RCC 1:1.5:3 in wall & slab | Providing and laying of Reinforced Cement Concrete, Mix M20, using 20 mm downgraded (1:1.5:3) hard granite broken stone aggregates, as in wall/slab etc , machine mixed and mechanically vibrated, including labour, cost and conveyance of all materials, steel shuttering formwork, hire, lead and lift charges, watering, curing, etc, complete as directed, but excluding the cost and labour for reinforcement. Admixture to be added in the concrete as per manufacturer instruction. Cement Grade - PPC 53. Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 15 | Cum
12 | Reinforcement | Providing and Supplying of reinforcement inclusive of Labour charges for cutting, straitening, fabricating and fixing in position MS bars conforming to IS-432 / High yield strength deformed bars (Tor Steel) conforming to IS-1786 of Fe 500 Grade / for Pro Steel confirming to IS-1786 of Fe550 of all diameter for reinforcement in all RCC in situ works including flooring and precast works at all levels and heights above finished floor level for plinth beam, columns, roof beam, roof slab, lintel, sunshade, loft, drops, sill level slab and etc., and for foundations, trenches, pits, lift pits etc., below finished floor level including cost of straightening, cutting, bending to shape fabricating and tying with 18 gauge GI binding wire, providing and fixing cement cover blocks, dewatering wherever necessary etc., all complete as per drawings and specifications and as directed by the Engineer. The rate to include cost of steel, binding wire, cement cover blocks, all cuts and wastes which will not be measured. Only laid weight will be measured including authorized laps. Cuts and wastes will not be measured for payment. Quoted Rate including of all laps, spacers, chairs etc., Make: TATA/JSW/ISI | 1500 | Kgs
13 | Plastering | Material and Labour for plastering 15 mm thick in CM(1:5) on fair / other than fair faces of brick work or concrete surfaces including finishing the surfaces even and smooth without using extra cement, including necessary scaffolding, etc., all as directed by the Engineer in-charge. Cement Grade - PPC 53 Make –ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 761 | Sqm
14 | Vitrified tiles | Supplying and fixing of premium Nonskid FULLY vitrified tiles (600 x 600 mm) x 10 mm thick, in floor etc over 20 mm thick cement mortar 1:3 and pointing with same colour epoxy grout with provision of 2mm spacer . Make: SOMANY or Approved equivalent Model: Dura Gres (Valor collection premium). Sample to be approved by the school authorities | 248 | Sqm
15 | Anti-skid floor tiles | Material and Labour for Screed bed or bedding layer of CM (1:4) layer of mortar 20mm thick for laying floor finishes over Non Skid vitrified tiles (600x600mm) x 8mmm thick, in floors etc. set and jointed in neat cement slurry and pointed in white or colored epoxy grout. Make: SOMANY / JOHSON / KAJARIA / ORIENT BELL MAKE of approved model | 10 | Sqm
16 | Glazed wall tiles | All as per item No 15 here in before but in vertical surfaces glazed ceramic tiles (300x450mm) x8mmm thick Ditto. Make: SOMANY / JOHSON / KAJARIA / ORIENT BELL MAKE of approved model | 654 | Sqm
17 | Granite | Supplying and fixing of polished black JET granite stone slab of 20 mm thick of approved quality, including of screed bed or bedding layer of 20 mm thick cement mortar including pointing with same colour cement added with colouring, pigments, etc. and Nosing to be done in edges of the granite slab all as specified and as directed by the Engineer. | 3 | Sqm
18 | Door window repair | Labour only for altering the existing doors and windows, by means of removal of existing shutters & fixed in the opposite side of frame including rebating the side of frame to fix the shutters including necessary hinges & other mongeries like handle & tower bolt etc | 12 | Nos
19 | Door Shutters | Supply and Fixing of plain solid Single/double paneled shutter 32 mm thick of wood frame and all necessary beads, mouldings and lipping. The quoted rate to be Including SS hinges, SS handle two Nos, Tower bolt 3 Nos,1 Nos of SS Aldrop. /Fittings shall be approved by school authorities. Wood : Sal / Ven Teak / Mahagony | 12.6 | Sqm
20 | Internal Wall painting | Material and Labour for colour washing Two coat of tractor emulsion on newly plastered surfaces on wall over a coat of primer including patch putty for uniform and smooth finished surfaces of the walls etc all as specified and as directed, including necessary scaffolding etc., Make - Asian paint | 250 | Sqm
21 | External Apex Painting | Material and Labour for two coats of Apex exterior paint over a coat of primer on newly plastered surfaces, including preparation surfaces, etc., in all walls all as specified and as directed including preparation of new surfaces. Make - Asian paints | 250 | Sqm
22 | Enamel painting | Material and labour for two coat of synthetic enamel paint over a coat of Primer on wooden/Steel surfaces including preparation of surfaces etc. including necessary scaffolding. Make - Asian paint | 470 | Sqm
23 | Floor Trap | Supply and fixing of PVC floor trap plain with grating including jointing with solvent cement 75 mm bore. Make: Finolex / Supreme | 98 | Nos
24 | PVC Pipe75mm dia | Supply and Fix for PVC pipes single socketed, in any length with rubber ring joints laid in trenches or in floors bore of pipe 63 mm including Special like socket, elbow with door, tee and "Y" Junction etc Make – Finolex/Supreme. | 60 | Rmt
25 | 110mm PVC pipe | Supply and Fix for PVC pipes single socketed, in any length with rubber ring joints laid in trenches or in floors bore of pipe 110 mm 6Kg per Cm2 pressure including Special like socket, elbow with door, tee and "Y" Junction etc. Make : Finolex or Supreme | 120 | Rmt
26 | 160mm PVC pipe | Supply and Fix for PVC pipes single socketed, in any length with rubber ring joints laid in trenches or in floors bore of pipe 160 mm 6Kg per Cm2 pressure including Special like socket, elbow with door, tee and "Y" Junction etc. Make : Finolex or Supreme | 60 | Rmt
27 | 12mm Stylam board cubicles for toilets | Supply and fixing of 12mm stylam board cubicles for toilets of size 4ft*5ft*6ft height with necessary stainless steel fixtures all as directed by Engineer in charge. Note: Sample and colour to be approved by the school. Note:Measurement will be plan area | 1362 | Sft
28 | Mirror | Supply and fixing 5mm beveled mirror with necessary SS studs for fixing the mirror on wall. Make: Saint Gobain | 18 | Sqm
29 | EWC | Supplying and fixing in position of white glazed European water closet with P trap with double flapped seat and seat cover and 10 litre capacity PVC low level flush tank parry ware with necessary accessories, CP down pipe, PVC connection, plumbing connections, etc. MAKE : EWC - PARRYWARE Flush tank – Slim line (or) other PVC tank with dual flush | 42 | Sets
30 | UPVC window/Ventilator | Supply and fix for UPVC window/ventilator with necessary frame as per manufacture or instruction including rails, styles, sash bar, rubber beading etc and glass of approved design. Make - Eiti / Alphine / Eagle. | 12 | Sqm
31 | Sink | Supply and installation of HAND WASH SINK (stainless steel) - refer photo (as per approved sample at site) - SIZE : 76"X20"X43" - 304 Grade - All 3 sides covering with 304 / 18 SWG SS SHEET - 5 nos of center hole basin mixer (Metro make - Zico) refer photo - both hot water and cold water pipe to be laid on rear side with stainless steel pipe line- STAND ALONE MODEL SINK- with 3 INCH DRAIN PIPE | 4 | Nos
Photo for sink
32 | Acrylic corner stand | Supply and fixing of 10 inch acrylic corner stand with necessary screws all as directed by engineer in charge. | 40 | Nos
B | Plumbing & Electrical works
33 | Pipe line 11/2" | Supply and fixing including cutting and threading of 11/2 GI pipes with all acecssories. Make - Tata/Jindal B class | 160 | Mtrs
34 | Pipe line 1/2" | Supply and fixing including cutting and threading of 1/2 GI pipes with all acecssories. Make - Tata/Jindal B class | 30 | Mtrs
35 | Pipe Fittings | Supply and fixing of 11/2" GI Union with all acecssories. Make - R brand/Unik | 10 | Nos
36 | Pipe Fittings | Supply and fixing of 11/2x1/2" GI Tee with all acecssories. Make - R brand/Unik | 70 | Nos
37 | Pipe Fittings | Supply and fixing of 11/2" GI Tee with all acecssories. Make-R brand/Unik | 20 | Nos
38 | Pipe Fittings | Supply and fixing of 11/2" GI Elbow with all acecssories. Make-R brand/Unik | 20 | Nos
39 | Pipe Fittings | Supply and fixing of 1/2" GI Union with all acecssories. Make-R brand/Unik | 60 | Nos
40 | Pipe Fittings | Supply and fixing of 1/2" GI Elbow with all acecssories. Make-R brand/Unik | 90 | Nos
41 | Pipe Fittings | Supply and fixing of 1/2" GI Nipple with all acecssories. Make-R brand/Unik | 200 | Nos
42 | Ball valve | Supply and fixing of 1/2" ball valve with all acecssories. Make-Leader | 60 | Nos
43 | Shower | Supply and fixing of 1/2" Shower rose with all acecssories. Make-Metro | 35 | Nos
44 | Exhaust fan | Supply and fixing of 12 inch heavy duty exhaust fan. Make -Havels. | 6 | Nos
45 | Exhaust fan | Supply and fixing 250 mm Square type pvc exhaust fan with necessary fitting etc. Make : Havels | 10 | Nos
46 | Wiring | Supply and laying concealed 3/4" conduit pipes with 2 run of 2.5 sqmm wire, one run of 1.5sqmm wire and fittings, etc., Make: Finolex/Havels | 150 | Mtrs
47 | Wiring | Supply and laying concealed 3/4" conduit pipes with 2 run of 1.5 sqmm wire, one run of 1.0 sqmm wire and fittings, etc., Make: Finolex/Havels | 150 | Mtrs
48 | Modular switch | Supply and fixing of 10 amps one way modular switch with flush metal GI box, combined plate light control switch with holder or ceiling rose, junction box,casing & capping, elbow/bend fittings, Make: Havels coral. | 20 | Pnts
49 | Power Socket | Supply and fixing of 16 amps 5 pin socket power points with 16 Amps modular switch and socket, metal box, casing & capping, cover plate elbow / bend Make: HavelsCoral | 10 | Pnts
50 | Support Clamp | Supply and Fabricated clamp supports of 40x40x5 mm L angle with necessary painting and fixtures | 80 | KG
51 | Water line | Supply and fixing of 3/4 UPVC pipe, fittings with necessary clamp etc Make : Supreme/Finolex | 160 | Mtrs
52 | Water line | Supply and fixing of 11/2" UPVC pipe, fittings with necessary clamp etc, Make Finolex/Supreme | 120 | Mtrs
53 | Water line | Supply and laying of 1" UPVC pipe with necessary fittings like Elbow,Tee, coupling,Reducer Make Finolex/Supreme | 100 | Mtrs
54 | Tap | Supply and Fixing for long body heavy duty Bib taps of cast copper alloy, chromium plated, screwed for iron pipe and fixed. Make : Metro omega | 8 | Nos
55 | Angle valve | Supplying and fixing in position of C.P. Angle valve 15mm heavy duty / Viking including CP cups, cutting, threading etc., Make : Metro omega | 60 | Nos
56 | Pipe | Supply and fixing of 3/4 UPVC pipe, fittings with necessary clamp etc Make : Supreme/Finolex | 60 | RM
57 | Pipe | Supply and fixing of 3/4 CPVC pipe, fittings with necessary clamp etc, Make Finolex/Supreme | 20 | RM
TOTAL
GST 18%
GRAND TOTAL
Signature of the Contractor