## Price Bid
Appendix - III
THE LAWRENCE SCHOOL , LOVEDALE
TENDER SCHEDULE / PRICE BID
Name of Work : Renovation of Girls school kitchen
S. No | Category | Description of work | Quantity | Unit | Rate | Amount
1 | Excavation in trench | Excavating in trenches, not exceeding 1.5m wide and not exceeding 1.5m in depth for foundation, etc., or for shafts, wells, cess pits, manholes, pier holes, etc., not exceeding 10sq m on plan and not exceeding 1.5m in depth and getting out hard and dense soil. | 30 | Cum
2 | Earth removal | Removing excavated material and depositing with in 1.5KM radius all as specified and directed by the Engineer In-Charge. | 30 | Cum
3 | Demolition | Demolition/ dismantling of Concrete in ground floors , RR Masonry, Brick wall etc and paving’s not exceeding 45 cm thickness (below or above ground level) | 15 | Cum
4 | Roughening | Roughening surface of old concrete/stone floor/wall by picking, sweeping cleaning and washing down with water to remove dust, etc. Applying cement screed @ 3.00 Kg per Sqm | 64.8 | Sqm
5 | Removal of Tiles | Chipping & removal of tiles from walls & racking out joints, Hacking for key & down with water, etc. 30 mm deep & lift of 4 m. | 68.25 | Sqm
6 | Debris | Clearing the debris generated in this work to be transported from the site and deposited with in 2KM radius as specified and directed by the Engineer in Charge | 20 | Cum
7 | PCC 1:2:4 | Material and Labour for Cement concrete in PCC (1:2:4) Type B1 using 20 mm graded stone aggregate in floor, plinth etc. with red oxide finish on top. Cement Grade - PPC 53. Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR/RAMCO | 14.55 | Cum
8 | Brick work | Material and Labour for Brickwork with subclass `B' bricks, straight or curved on plan exceeding 6m mean radius, built in CM (1:6) | 4 | Cum
9 | Half Brickwork | Material and Labour for Half Brick thick brick wall with subclass `B' bricks, straight or curved on plan exceeding 6m mean radius, built in CM (1:4) | 15 | Sqm
10 | Plastering | Material and Labour for plastering 15 mm thick in CM(1:5) on fair / other than fair faces of brick work or concrete surfaces including finishing the surfaces even and smooth without using extra cement, including necessary scaffolding, etc., all as directed by the Engineer in-charge. Cement Grade - PPC 53 Make –ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 156 | Sqm
11 | Kota Stone flooring with polish | Supplying and Laying of machine green shade cut Kota stone (Rajasthan Kota) slab flooring 18-25mm thick over cement screed base laid and jointed with green cement slurry mixed with pigment to match the shade of the slab including rubbing and 5 layer polishing complete. | 57.75 | Sqm
12 | Vitrified tiles | Supplying and fixing of premium Nonskid FULLY vitrified tiles (600 x 600 mm) x 10 mm thick, in floor etc over 20 mm thick cement mortar 1:3 and pointing with same colour cement added with coloring pigments. Make: ORIENT BELL Model: BDW Koa Plank Brown / BDW magic wood brown. Sample to be approved by the school authorities | 10 | Sqm
13 | Anti-skid floor tiles | Material and Labour for Screed bed or bedding layer of CM (1:4) layer of mortar 20mm thick for laying floor finishes over Non Skid vitrified tiles (300x300mm) x 8mmm thick, in floors etc. set and jointed in neat cement slurry and pointed in white or colored cement to match. Make: SOMANY / JOHSON / KAJARIA / ORIENT BELL MAKE of approved model | 3 | Sqm
14 | Glazed wall tiles | All as per item No 13 here in before but in vertical surfaces glazed ceramic tiles (300x450mm) x7mmm thick Ditto. Make: SOMANY / JOHSON / KAJARIA / ORIENT BELL MAKE of approved model | 64.8 | Sqm
15 | Door window repair | Labour only for altering the existing doors and windows, by means of removal of existing shutters & fixed in the opposite side of frame including rebating the side of frame to fix the shutters including necessary hinges & other mongeries like handle & tower bolt etc | 4 | Nos
16 | Door Shutters | Supply and Fixing of plain solid Single/double panelled shutter 32 mm thick of wood frame and all necessary beads, mouldings and lipping. The quoted rate to be Including SS hinges, SS handle two Nos, Tower bolt 3 Nos,1 Nos of SS Aldrop. /Fittings shall be approved by school authorities. Wood : Sal /venteak/Mahagony | 5.28 | Sqm
17 | Internal Wall painting | Material and Labour for colour washing Two coat of tractor emulsion on newly plastered surfaces on wall over a coat of primer including patch putty for uniform and smooth finished surfaces of the walls etc all as specified and as directed, including necessary scaffolding etc., Make - Asian paint | 162 | Sqm
18 | External Apex Painting | Material and Labour for two coats of Apex exterior paint over a coat of primer on newly plastered surfaces, including preparation surfaces, etc., in all walls all as specified and as directed including preparation of new surfaces. Make - Asian paints | 100 | Sqm
19 | Enamel painting | Material and labour for two coat of synthetic enamel paint over a coat of Primer on wooden/Steel surfaces including preparation of surfaces etc. including necessary scaffolding Make - Asian paint | 98 | Sqm
20 | Floor Trap | Supply and fixing of PVC floor trap plain with grating including jointing with solvent cement 75 mm bore. Make: Finolex / Supreme | 8 | Nos
21 | 110mm PVC pipe | Supply and Fix for PVC pipes single socketed, in any length with rubber ring joints laid in trenches or in floors bore of pipe 110 mm 6Kg per Cm2 pressure including Special like socket, elbow with door, tee and "Y" Junction etc. Make : Finolex or Supreme | 30 | Mtr
22 | 160mm PVC pipe | Supply and Fix for PVC pipes single socketed, in any length with rubber ring joints laid in trenches or in floors bore of pipe 160 mm 6Kg per Cm2 pressure including Special like socket, elbow with door, tee and "Y" Junction etc. Make : Finolex or Supreme | 30 | Mtr
23 | Structural steel | Framed brackets of angles or tees with web and flanges cut to shape, drilled and countersunk for screw, including bending and welding angles, as necessary, gusset plates, riveting, bolt and nut etc., conforming to FE 410-0 or FE 310-0. Make - JSW / Apollo/ISI | 223.8 | Kgs
24 | Power Cable | Supply,laying and termination of 4 core 50 sqmm Aluminium UG cables in one meter depth burried cable trench and back filling with brick,sand , with necessary clamping etc., | 140 | Mtr
25 | DB | Supply and foixing of 4 way TPN DB with 100 amps 4 pole MCB-1no,63 Amps 4 pole MCB-2 nos | 2 | Nos
26 | Earth Pit | Supply and Providing 25 mm dia 3 meter length copper bonded earthing rod with clamping connector and compound, 600x600 GI cover,with 10 swg copper wire 20 meter etc | 1 | Nos
27 | Flexible Cable | Supply,laying and termination of 4 core10 sqmm Copper flexible cable cables in one meter depth burried cable trench and back filling with brick,sand , with necessary clampingetc | 20 | Mtr
28 | Power Socket | Supply and fixing of 16 amps metal clad power socket with 16 amp single pole mcb Make Havels | 6 | Nos
29 | LED Tube light | Supply and fixing of 20 watts water proof industrial tube light fitting Make Bajaj | 8 | Nos
| Exhaust fan | Supply and fixing of 12 inch heavy duty exhaust fan Make -Havels. | 2 | Nos
30 | Wiring | Supply and laying concealed 3/4" conduit pipes with 2 run of 2.5 sqmm wire, one run of 1.5sqmm wire and fittings, etc., Make: Finolex/Havels | 20 | Mtrs
31 | Modular switch | Supply and fixing of 10 amps one way modular switch with flush metal GI box, combined plate light control switch with holder or ceiling rose, junction box,casing & capping, elbow/bend fittings,Make: Havels coral. | 10 | Pnts
32 | Socket | Supply and fixing of 16 amps 5 pin socket power points with 16 Amps modular switch and socket, metal box, casing & capping, cover plate elbow / bend Make: HavelsCoral | 5 | Pnts
TOTAL
GST @ 18%
GRAND TOTAL
Signature of the Contractor