## Tender
THE LAWRENCE SCHOOL, LOVEDALE
TENDER SCHEDULE
Name of Work : Providing PCC road/flooring in the school campus
Note: The school doesn't permit to use JCB/Bob cutter in the campus. In case if JCB is compulsary for certain works, necessary permission to operate JCB / other earth mowing equiments to be obtained from Govt. authorites is under the scope of the contractor
S.No | Category | Description | Qty | Unit | Rate | Amount
A. PCC flooring for school garages and PCC road towards dry garbage store
1 | Demolition | Demolition/ dismantling of Concrete in ground floors , RR Masonry, Brick wall etc and paving’s not exceeding 15 cm thickness (below or above ground level) | 3 | Cum
2 | Excavation | Material & Labour for Surface Excavation n. exc 40 CM deep and averaging 30 CM deep and getting out in hard/existing bitumen road surfaces/Soft / loose soil and disposing off soil with in 1.5KM radius as directed by Engineer In-Charge | 136.65 | Cum
3 | PCC 1:4:8 | Providing and laying of Plain Cement Concrete 1:4:8 (1cement : 4 fine aggregate : 8 coarse aggregate), machine mixed, using 40 mm downgraded hard granite broken stone aggregates, including formwork wherever required, cost and conveyance of all materials to site, lead and lift charges, labour charges, leveling, compacting, finishing, watering, curing, etc, complete as directed. Cement Grade - PPC 53 Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA/SANKAR / RAMCO | 43.3 | Cum
4 | PCC 1:2:4 | Material and Labour for Cement concrete in floors , Pavings, kerbs and drains etc in PCC (1:2:4) Type B 1 using 20 mm graded stone aggregate. Note : The rate inclusive of Making impression on the raod top surface by means of Expanded metal whilst concrete is in green.The rate to be inclusive of necessary formwork. Note - Form work should be of either steel shuttering of 200mm thick and rate to include in this item. The rate is also inclusive of making impression on the road top surface by means of expanded metal whilst concrete is in green and including hessian cloth for curing on top of concrete. Cement Grade - PPC 53 Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA/SANKAR/RAMCO | 48.56 | Cum
5 | Expansion joint | Material and Labour for Forming 12mm thick Expansion joints filled with pre-formed bituminous filler and top 30mm prmied and sealed with sealing compound, Grade `A' | 75 | Rmt
6 | Enamel painting | Material and labour for one coats of synthetic enamel paint over a coat of Primer on wooden surfaces including preparation of surfaces etc., Make - Asian paint | 144.65 | Sqm
7 | External Apex painting | Material and Labour for one coats of Apex exterior paint over a coat of primer on newly plastered surfaces, including preparation surfaces, etc., in all walls all as specified and as directed including preparation of new surfaces, including necessary scaffolding etc., Make - Asian paint | 525 | Sqm
8 | Power Cable | Supply and termination of 4 core 2.5 sq mm copper UG cable with necessary gland, clamping, etc., (Make: Havels/Poly cab) | 60 | Mtr
9 | Power Cable | Supply and termination of 4 core 4.0 sq mm copper UG cable with necessary gland, clamping, etc., (Make:Havels/Poly cab) | 60 | Mtr
10 | Power Cable | Supply and termination of 4 core 6.0 sq mm copper UG cable with necessary gland, clamping, etc., (Make: Havels/Poly cab) | 60 | Mtr
11 | Wiring | Supply and laying of concealed 3/4" conduit pipes with 2 runs of 4 sq mm wire and one run of 2.5 sq mm wire and fittings, etc., Make: Finolex | 60 | Mtrs
12 | Power point | Supply and fixing of 6 to 16 amps 3 pin power sockets with 16 amps modular switch and socket, metal box, casing & capping, cover plate elbow / bend, etc., (Make: Havel’s/ coral) | 6 | Pnts
13 | DB | Supply and fixing of 4 way double door DB with 16 amps 2 pole MCB and 25 amps 30 RCCB (Make: Havels) | 2 | Sets
14 | Earth pits | Supply and Providing of earth pit with 2" dia 6 feet length CI earth pipe with 2'x2' chamber, necessary charcoal, salt, GI cover,with 10 swg copper wire 20 meter, etc., | 1 | Nos
15 | Shifting | Dismantilling and relocating of the following: 1. Existing 16 way double door DB with incomming cables 2. Air compressor 3. Water pump, 4. Water tank, etc., | 1 | LS
16 | Water line | Supply and laying of 3/4" UPVC pipe with necessary fittings (Make- Supreme) | 60 | Mtr
17 | Water line | Supply and laying of 1/2" GI pipe with necessary fittings etc.. (Make R brand/Kerti) | 60 | Mtr
18 | Valve | Supply and fixing of 3/4" ball valve with necessary fitting (Make- Leader) | 2 | Nos
TOTAL (A) - PCC flooring for school garages and PCC road towards dry garbage store
B. PCC road from School garage to cemetery and composed yard
19 | Demolition | Demolition/ dismantling of Concrete in ground floors , RR Masonry, Brick wall etc and paving’s not exceeding 15 cm thickness (below or above ground level) | 6 | Cum
20 | Excavation | Material & Labour for Surface Excavation n. exc 40 CM deep and averaging 30 CM deep and getting out in hard/existing bitumen road surfaces/Soft / loose soil and disposing off soil with in 1.5KM radius as directed by Engineer In-Charge | 475.2 | Cum
21 | Rolling | Material & Labour for Rolling, consolidating and formation of surfaces in cutting with power roller exceeding 8 tonne and not exceeding 12 tonne all as specified and directed by Engineer - in - Charge | 1584 | Sqm
22 | Soling | Material and Labour for Soling (Or Sub Base) with broken boulders or quarried stone (Basalt, trap, granite stone), 150 mm thick spread thickness with grade 1 metal using 1.32 Cum of 63 - 45 mm IRC Size metal with 0.32 Cum Gravel for blinding (interstices filled, surface) per 10 Sqm, formed and rolled and consolidated to required gradient and camber with power roller exceeding 8 tonne and not exceeding 12 tonne all as specified and directed by Engineer - in – Charge. | 126 | Cum
23 | PCC 1:4:8 | Providing and laying of Plain Cement Concrete 1:4:8 (1cement : 4 fine aggregate : 8 coarse aggregate), machine mixed, using 40 mm downgraded hard granite broken stone aggregates, including formwork wherever required, cost and conveyance of all materials to site, lead and lift charges, labour charges, leveling, compacting, finishing, watering, curing, etc, complete as directed. Cement Grade - PPC 53 Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA/SANKAR/RAMCO | 148.5 | Cum
24 | PCC 1:2:4 | Material and Labour for Cement concrete in floors , Pavings, kerbs and drains etc in PCC (1:2:4) Type B 1 using 20 mm graded stone aggregate. Note : The rate inclusive of Making impression on the raod top surface by means of Expanded metal whilst concrete is in green.The rate to be inclusive of necessary formwork. Note - Form work should be of either steel shuttering of 200mm thick and rate to include in this item. The rate is also inclusive of making impression on the road top surface by means of expanded metal whilst concrete is in green and including hessian cloth for curing on top of concrete. Cement Grade - PPC 53 Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA/SANKAR/RAMCO | 183.83 | Cum
25 | 160mm pvc pipe | Supply and Fix for PVC pipes single socketed, in any length with rubber ring joints laid in trenches or in floors bore of pipe 160 mm 6Kg per Cm2 pressure including Special like socket, elbow with door, tee and "Y" Junction etc. Make : Finolex or Supreme | 270 | Rmt
26 | Expansion joint | Material and Labour for Forming 12mm thick Expansion joints filled with pre-formed bituminous filler and top 30mm prmied and sealed with sealing compound, Grade `A' | 259.5 | Rmt
27 | 2 feet diameter hume pipe | Supplying and laying RCC spun pipe (heavy duty) of 2 feet diameter, 2-inch wall thickness below ground level including required concrete base, collar, refilling, consolidation etc all as specified and directed by the Engineer. | 8 | Rmt
TOTAL (B) - PCC road from School garage to cemetery and composed yard
C. PCC road from girls school to Laundry
28 | Demolition | Demolition/ dismantling of Concrete in ground floors , RR Masonry, Brick wall etc and paving’s not exceeding 15 cm thickness (below or above ground level) | 7.88 | Cum
29 | Excavation | Material & Labour for Surface Excavation n. exc 40 CM deep and averaging 30 CM deep and getting out in hard/existing bitumen road surfaces/Soft / loose soil and disposing off soil with in 1.5KM radius as directed by Engineer In-Charge | 234.9 | Cum
30 | Rolling | Material & Labour for Rolling, consolidating and formation of surfaces in cutting with power roller exceeding 8 tonne and not exceeding 12 tonne all as specified and directed by Engineer - in - Charge | 783 | Sqm
31 | Soling | Material and Labour for Soling (Or Sub Base) with broken boulders or quarried stone (Basalt, trap, granite stone), 150 mm thick spread thickness with grade 1 metal using 1.32 Cum of 63 - 45 mm IRC Size metal with 0.32 Cum Gravel for blinding (interstices filled, surface) per 10 Sqm, formed and rolled and consolidated to required gradient and camber with power roller exceeding 8 tonne and not exceeding 12 tonne all as specified and directed by Engineer - in – Charge. | 65.2 | Cum
32 | PCC 1:4:8 | Providing and laying of Plain Cement Concrete 1:4:8 (1cement : 4 fine aggregate : 8 coarse aggregate), machine mixed, using 40 mm downgraded hard granite broken stone aggregates, including formwork wherever required, cost and conveyance of all materials to site, lead and lift charges, labour charges, leveling, compacting, finishing, watering, curing, etc, complete as directed. Cement Grade - PPC 53 Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA/SANKAR/RAMCO | 70.2 | Cum
33 | PCC 1:2:4 | Material and Labour for Cement concrete in floors , Pavings, kerbs and drains etc in PCC (1:2:4) Type B 1 using 20 mm graded stone aggregate. Note : The rate inclusive of Making impression on the raod top surface by means of Expanded metal whilst concrete is in green.The rate to be inclusive of necessary formwork. Note - Form work should be of either steel shuttering of 200mm thick and rate to include in this item. The rate is also inclusive of making impression on the road top surface by means of expanded metal whilst concrete is in green and including hessian cloth for curing on top of concrete. Cement Grade - PPC 53 Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA/SANKAR/RAMCO | 70.2 | Cum
34 | 160mm pvc pipe | Supply and Fix for PVC pipes single socketed, in any length with rubber ring joints laid in trenches or in floors bore of pipe 160 mm 6Kg per Cm2 pressure including Special like socket, elbow with door, tee and "Y" Junction etc. Make : Finolex or Supreme | 60 | Rmt
35 | Expansion joint | Material and Labour for Forming 12mm thick Expansion joints filled with pre-formed bituminous filler and top 30mm prmied and sealed with sealing compound, Grade `A' | 140.7 | Rmt
36 | Reinforcement | Providing and fixing reinforcement for RCC Work with high yield strength, ribbed, cold twisted tor steel of various diameters of grade FE 415 Confirming to BIS specifications including cutting, bending, fabricating and placing in positions and binding the reinforcement with the use of 18 gauge galvanized annealed binding wire with double fold and providing pre cast cement cover blocks for main reinforcements to ensure specified cover according to relevant IS Code. The measurements will be in accordance with IS Code 1200. 288. Make - TATA / SAIL / JSW / Vizag | 103.96 | Kgs
37 | RCC 1:1.5:3 | Providing, Re in forced cement concrete in (1:1.5:3) in plinth beam, lintel beam , loft /kitchen slabs, man hole covers, lintel and roof beam and roof slab etc . Including necessary steel form works. Props etc, all as specified and as directed. Cement Grade - PPC 53 Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR/RAMCO | 1.09 | Cum
38 | Structural steel | Supply & erection of Purlin using SHS Section, edges of the tubes shall be welded with MS Plate etc. Roof trusses (framed), trussed purlins crane gantries, rails and fastenings and heavy bracket framing (Beam, tee, angle channel or flat sections) including distance pieces, cleats etc. Make - JSW / Apollo | 186.32 | Kgs
39 | Enamel painting | Material and labour for one coats of synthetic enamel paint over a coat of Primer on wooden surfaces including preparation of surfaces etc., Make - Asian paint | 60 | Sqm
40 | External Apex painting | Material and Labour for one coats of Apex exterior paint over a coat of primer on newly plastered surfaces, including preparation surfaces, etc., in all walls all as specified and as directed including preparation of new surfaces, including necessary scaffolding etc., Make - Asian paint | 30 | Sqm
TOTAL (C) - PCC road from girls school to Laundry
TOTAL (A+B+C)
GST @ 18%
GRAND TOTAL
Signature of the Contractor