## Tender Allied work
THE LAWRENCE SCHOOL,LOVEDALE
TENDER SCHEDULE / PRICE BID
Name of Work: Providing allied works for new squash courts
Note: The school doesn't permit to use JCB / Bob cutter in the school campus. In case if JCB is compulsary for certain works, necessary permission to operate JCB / other earth mowing equiments to be obtained from Govt. authorites is under the scope of the contractor
SL NO | CATEGORY | DESCRIPTION | Qty | UNIT | RATE | AMOUNT
A | CONNECTING BRIDGE
1 | Earthwork excavation 0 -1.5 m | Earth work excavation in all classes of soil (excluding hard rock which requires blasting) by mechanical means (Hydraulic excavator)/ manual means in foundation trenches (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | 19.44 | M3
1.a | Surface excavation (through JCB) | Earth excavation by deploying required earth mowing machineries (JCB) in soft/hard soil up to required depth as per the side condition etc all as specified and directed by the Engineer in charge. | RQ | Hrs
2 | PCC 1:4:8 | PLAIN CEMENT CONCRETE work 1:4:8 using 40mm down grade hard granite broken stone,mechine mixed for foundation bed etc. Including cost and conveyance of all materials and labour charges etc. complete. Cement Grade - PPC 53. Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO
|  | For Footing, plinth beam | 0.916 | M3
3 | RCC M25 for footings | Providing Reinforced Cement Concrete of design mix M-25 using 20mm Nominal size and down grade hard granite broken stones, first quality M-sand, machine mixed and mechanically vibrated including cost and conveyance of all materials for FOOTING, Including labour charges for formwork, hire charges, curing, lifting, etc. complete. Cement Grade - PPC 53. Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 2.016 | M3
4 | RCC M25 for Neck Columns | Providing Reinforced Cement Concrete of design mix M-25using 20mm Nominal size and down grade hard granite broken stones, first quality M-sand, machine mixed and mechanically vibrated including cost and conveyance of all materials for NECK COLUMN, Including labour charges for formwork, hire charges, curing, lifting, etc. complete. Cement Grade - PPC 53. Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 0.464 | M3
5 | RCC M25 for Plinth beam | Providing Reinforced Cement Concrete of design mix M-25 using 20mm Nominal size and down grade hard granite broken stones, first quality M-sand, machine mixed and mechanically vibrated including cost and conveyance of all materials for PLINTH BEAM, Including labour charges for formwork, hire charges, curing, lifting, etc. complete. Cement Grade - PPC 53. Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 0.264 | M3
6 | RCC M25 for Floor Columns | Providing Reinforced Cement Concrete of design mix M-25using 20mm Nominal size and down grade hard granite broken stones, first quality M-sand, machine mixed and mechanically vibrated including cost and conveyance of all materials for FLOOR COLUMN, Including labour charges for formwork, hire charges, curing, lifting, etc. complete. Cement Grade - PPC 53. Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 0.8 | M3
7 | RCC M25 for Beams | Providing Reinforced Cement Concrete of design mix M-25 using 20mm Nominal size and down grade hard granite broken stones, first quality M-sand, machine mixed and mechanically vibrated including cost and conveyance of all materials for BEAM, Including labour charges for formwork, hire charges, curing, lifting, etc. complete. Cement Grade - PPC 53. Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 2.048 | M3
8 | RCC M25 for Slabs | Providing Reinforced Cement Concrete of design mix M-25 using 20mm Nominal size and down grade hard granite broken stones, first quality M-sand, machine mixed and mechanically vibrated including cost and conveyance of all materials for SLAB, Including labour charges for formwork, hire charges, curing, lifting, etc. complete. Cement Grade - PPC 53. Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 1.8778 | M3
9 | Earth filling | EARTH FILLING with available soil at site in layers not exceeding 30 cm in deapth ,consolidating each deposited layers by ramming and watering .lncluding cost and conveyance of all materials, labour charges ,curing, scaffolding, loading and unloading charges etc | 16.044 | M3
10 | Dry Rubble Masonry | DRY RUBBLE MASONRY using hard stone,for foundation etc. Including cost and conveyance of all materials and labour charges etc. complete for flooring | 6.9 | M3
11 | Steel Reinforcement | Providing and Supplying of reinforcement inclusive of Labour charges for cutting, straitening, fabricating and fixing in position MS bars conforming to IS-432 / High yield strength deformed bars (Tor Steel) conforming to IS-1786 of Fe 500 Grade / for Pro Steel confirming to IS-1786 of Fe550 of all diameter for reinforcement in all RCC in situ works including flooring and precast works at all levels and heights above finished floor level for plinth beam, columns, roof beam, roof slab, lintel, sunshade, loft, drops, sill level slab and etc., and for foundations, trenches, pits, lift pits etc., below finished floor level including cost of straightening, cutting, bending to shape fabricating and tying with 18 gauge GI binding wire, providing and fixing cement cover blocks, dewatering wherever necessary etc., all complete as per drawings and specifications and as directed by the Engineer. The rate to include cost of steel, binding wire, cement cover blocks, all cuts and wastes which will not be measured. Only laid weight will be measured including authorized laps. Cuts and wastes will not be measured for payment. Make:TATA/JSW/JINDAL | 1115 | Kgs
12 | RCC M25 for Parapat wall | Providing Reinforced Cement Concrete of design mix M-25 using 20mm Nominal size and down grade hard granite broken stones, first quality M-sand, machine mixed and mechanically vibrated including cost and conveyance of all materials for 10cm THICK PARAPET WALL, Including labour charges for formwork, hire charges, curing, lifting, etc. complete. Cement Grade - PPC 53. Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 8.8 | M3
13 | Plastering | PLASTERING:18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) and a top layer 6 mm thick cement plaster 1:3 (1 cement : 3 coarse sand) finished rough with sponge. Cement Grade - PPC 53 Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR/RAMCO | 248 | SQ.M
14 | Painting | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. Make - Asian Paints,Royal Emulsion | 248 | SQ.M
15 | Sadarahalli Granite Flooring | Providing and laying 18mm thick Sadarahalli granite stones in desired colour as per control sample, size 1200x600x18 mm on floor using 5mm thick approved thick bed adhesive as per specification over prepared base on 20mm (average) thick base of cement mortar 1:4(1 cement : 4 core sand) laid and jointed with neat cement slurry mixed with pigment to match the shade of granite stone complete as per specifications and relevant drawings, in external development areas | 45 | SQ.M
TOTAL (A) - CONNECTING BRIDGE
B | AMPHITHEATER
16 | Earthwork excavation 0-1.5m | EARTH WORK EXCAVATION for DR masonry * Earth work excavation in all classes of soil (excluding hard rock which requires blasting) by mechanical means (Hydraulic excavator)/ manual means in foundation trenches (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | 23.8152 | M3
17 | RCC M25 for plinth belt | Providing Reinforced Cement Concrete of design mix M-25 using 20mm Nominal size and down grade hard granite broken stones, first quality M-sand, machine mixed and mechanically vibrated including cost and conveyance of all materials for PLINTH BELT Including labour charges for formwork, hire charges, curing, lifting, etc. complete. Cement Grade - PPC 53. Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 10.7291 | M3
18 | DR Masonry | DRY RUBBLE MASONRY using hard stone,for foundation etc. Including cost and conveyance of all materials and labour charges etc. complete for wall | 23.82 | M3
19 | RR Masonry | RANDOM RUBBLE MASONRY in cement mortar 1:6 using hard stone,for foundation etc. Including cost and conveyance of all materials and labour charges etc. complete for wall.Weep holes to be provided as per drawing. | 82.06 | M3
20 | GSB Layer | Providing GSB layer (Granular sub base) under the base slab of amphitheatre (GSB Grading III OR Grading IV 150mm thick ),Including cost and conveyance of all materials and labour charges etc. complete | 69.31 | M3
21 | M25 Base Slab | Providing Reinforced Cement Concrete of design mix M-25 using 20mm Nominal size and down grade hard granite broken stones, first quality M-sand, machine mixed and mechanically vibrated including cost and conveyance of all materials for BASE SLAB FOR AMPHITHEATRE Including labour charges for formwork, hire charges, curing, lifting, etc. complete. Note - Steel Quantity Taken Seperately Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 52.43 | M3
22 | Steel Reinforcement | Providing and Supplying of reinforcement inclusive of Labour charges for cutting, straitening, fabricating and fixing in position MS bars conforming to IS-432 / High yield strength deformed bars (Tor Steel) conforming to IS-1786 of Fe 500 Grade / for Pro Steel confirming to IS-1786 of Fe550 of all diameter for reinforcement in all RCC in situ works including flooring and precast works at all levels and heights above finished floor level for plinth beam, columns, roof beam, roof slab, lintel, sunshade, loft, drops, sill level slab and etc., and for foundations, trenches, pits, lift pits etc., below finished floor level including cost of straightening, cutting, bending to shape fabricating and tying with 18 gauge GI binding wire, providing and fixing cement cover blocks, dewatering wherever necessary etc., all complete as per drawings and specifications and as directed by the Engineer. The rate to include cost of steel, binding wire, cement cover blocks, all cuts and wastes which will not be measured. Only laid weight will be measured including authorized laps. Cuts and wastes will not be measured for payment. Make:TATA/JSW/jindal | 3225 | KG
23 | Brick Masonry-Steps,Seating,Planterbox | Providing brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in a cement mortar mix of 1:6 in super structure above plinth level up to floor V level in all shapes and sizes.Weep holes to be provided as per drawing. | 28.2 | M3
24 | Platering | PLASTERING:18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) and a top layer 6 mm thick cement plaster 1:3 (1 cement : 3 coarse sand) finished rough with sponge. Cement Grade - PPC 53 Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR/RAMCO | 42 | M2
25 | Earth filling | EARTH FILLING with available soil at site in layers not exceeding 30 cm in deapth ,consolidating each deposited layers by ramming and watering .lncluding cost and conveyance of all materials, labour charges ,curing, scaffolding, loading and unloading charges etc | 35 | M3
26 | Sadarahalli Granite Stone(steps & Paving) | Providing and laying 18mm thick Sadarahalli granite stones in desired colour as per control sample, size 1200x600x18 mm on floor using 5mm thick approved thick bed adhesive as per specification over prepared base on 20mm (average) thick base of cement mortar 1:4(1 cement : 4 core sand) laid and jointed with neat cement slurry mixed with pigment to match the shade of granite stone complete asper specifications and relevant drawings, in external development areas | 285 | M2
TOTAL (B) - AMPHITHEATER
C | RETAINING WALL & DRAIN
27 | Earthwork excavation 0-1.5m | Earth work excavation in all classes of soil (excluding hard rock which requires blasting) by mechanical means (Hydraulic excavator)/ manual means in foundation trenches (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | 50.73 | M3
28 | RCC M25 for BELT | Providing Reinforced Cement Concrete of design mix M-25 using 20mm Nominal size and down grade hard granite broken stones, first quality M-sand, machine mixed and mechanically vibrated including cost and conveyance of all materials for PLINTH BELT Including labour charges for formwork, hire charges, curing, lifting, etc. complete. Cement Grade - PPC 53. Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 22.14 | M3
29 | DR Masonry | DRY RUBBLE MASONRY using hard stone,for foundation etc. Including cost and conveyance of all materials and labour charges etc. complete for wall | 50.73 | M3
30 | RR Masonry | RANDOM RUBBLE MASONRY in cement mortar 1:6 using hard stone,for foundation etc. Including cost and conveyance of all materials and labour charges etc. complete for wall.Weep holes to be provided as per drawing. | 137.77 | M3
31 | RCC M20 for parapat | Providing Reinforced Cement Concrete of design mix M-20 using 20mm Nominal size and down grade hard granite broken stones, first quality M-sand, machine mixed and mechanically vibrated including cost and conveyance of all materials for 10cm THICK PARAPET Including labour charges for formwork, hire charges, curing, lifting, etc. complete. Cement Grade - PPC 53. Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 5.3 | M3
32 | RCC M20 For Drain | Providing Reinforced Cement Concrete of design mix M-20 using 20mm Nominal size and down grade hard granite broken stones, first quality M-sand, machine mixed and mechanically vibrated including cost and conveyance of all materials for 10cm THICK PARAPET Including labour charges for formwork, hire charges, curing, lifting, etc. complete. Cement Grade - PPC 53. Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 20.4 | M3
33 | UPVC PIPE | Supply, Fixing/ Laying of class III (6 kg/cm2) uPVC soil, waste and vent pipes as per IS: 4985 jointed with solvent cemnet joint inclusive of all necessary specials like collar etc., laid below the ground with necessary excavation in all types of soil & refilling the same in layers & the excess soil shall be carted upto 300 mts away etc., complete. MAKE:Supreme - 160 MM | 15 | Mtrs
34 | Steel Reinforcement | Providing and Supplying of reinforcement inclusive of Labour charges for cutting, straitening, fabricating and fixing in position MS bars conforming to IS-432 / High yield strength deformed bars (Tor Steel) conforming to IS-1786 of Fe 500 Grade / for Pro Steel confirming to IS-1786 of Fe550 of all diameter for reinforcement in all RCC in situ works including flooring and precast works at all levels and heights above finished floor level for plinth beam, columns, roof beam, roof slab, lintel, sunshade, loft, drops, sill level slab and etc., and for foundations, trenches, pits, lift pits etc., below finished floor level including cost of straightening, cutting, bending to shape fabricating and tying with 18 gauge GI binding wire, providing and fixing cement cover blocks, dewatering wherever necessary etc., all complete as per drawings and specifications and as directed by the Engineer. The rate to include cost of steel, binding wire, cement cover blocks, all cuts and wastes which will not be measured. Only laid weight will be measured including authorized laps. Cuts and wastes will not be measured for payment. Make:TATA/JSW/Jindal | 2500 | Kgs
35 | Plastering (Drain) | Providing 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) and a top layer 6 mm thick cement plaster 1:3 (1 cement : 3 coarse sand) finished rough with sponge. Cement Grade - PPC 53 Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR/RAMCO | 204 | M2
36 | FRP-GRATINGS | Supply and laying of 40 mm Thick FRP -Gratings to cover the drain | 72.08 | M3
37 | Sadarahalli Granite | Providing and laying 18mm thick Sadarahalli granite stones in desired colour as per control sample, size 1200x600x18 mm on floor using 5mm thick approved thick bed adhesive as per specification over prepared base on 20mm (average) thick base of cement mortar 1:4(1 cement : 4 core sand) laid and jointed with neat cement slurry mixed with pigment to match the shade of granite stone complete asper specifications and relevant drawings, in external development areas
|  | Ramp/Landscape | 390 | M2
TOTAL ('C) - RETAINING WALL & DRAIN
D | RENOVATION AT EXISTING SQUASH COURTS
38 | Replacing roofing sheet | Replacing existing tiled roof sheet with 50mm thick PUF insulated sandwich panels with 0.45 mm TCT 300 Mpa 150 GSM tiled pattern galvalume colour coated sheets with polyester coating of approved colour on the top. Make: Metecno / Lloyds Note - Existing roof tiles and galvalume sheets to be removed and stored in the school cmapus (with in 2KM radius) as directed by Engineer In-charge | 265 | M2
39 | Polycarbonate skylight sheet - Clear 1.5mm thick | Supply and laying of Polycarbonate skylight sheet - Clear 1.5mm thick - Color sheet profile Make: Arcslot/jindal | 34 | M2
TOTAL (D) - RENOVATION AT EXISTING SQUASH COURTS
GRAND TOTAL
GST @ 18%
GRAND TOTAL (B)
Signature of the Contractor

## Sheet1 (2) (hidden)
IMPEX PRODUCTION- BOQ
Price and Scope of Works:
Supply and installation of steel building structure.
S.NO | ITEM OF WORK | QTY | UNIT | RATE | AMOUNT
1 | Supply and installation of Primary (Built-up sections) fabricated from hot rolled steel plates ASTM A 572M Grade 50 or equivalent with minimum yield strength of 345 MPa (TATA,JINDAL). All structural members should be blast cleaned to Sa1/2. And it should be applied 80μm epoxy primer(Zinc Phosphate) and two coats (each 60μm) of High Build polyamide cured epoxy coating paint. (Thickness mentioned are dry film thickness). All connections are bolted (for Roof trusses, Columns, Portal frames, Bracings, Claddings, Cleats, Protection angle, hangers, base plates, stiffener plates, wind bracings, Tie rods, etc.,) | 94 | Tonne
2 | Supply and installation of cold formed steel conforming to ASTM A653 SQ50 Class 1( galvanized) or equivalent with minimum yield strength of 345 MPa (TATA/JINDAL). (Thickness mentioned are dry film thickness). All connections are bolted. | 15 | Tonne
3 | Supply of FOUNDATION BOLTS of sizes ranging from 16mm to 24mm in diameter with washers, nuts,.It shall be hot dip galvanized. All Structural bolts shall confirm to the property class of 4.6 including anchor bolts in accordance with ASTM A36M ,including cost of threading etc., complete | 600 | KG
4 | Supply&installation of 0.45 mm TCT Galvalume colour coated roof sheet (Tata/Jindal) with Troughed Profile fixed with Non-corrosive fastner.(corroshield 55 mm length) and including all necessary accessories like foam closure, sealants etc.. and Zinc-Alu Alloy coating AZ150 gsm as per ASTM A 792M Grade 345B with Coating Z150. | 95988 | SQFT
5 | Supply & installation of 0.46 mm TCT aluminium water gutter of size 20 cm width, 12.5 cm and 15 cm depth on each side(refer dwg) fixed ms clamps.(ISA 25x25x5 mm) | 78 | M
6 | Supply&installation of 0.45 mm TCT Galvalume colour coated cladding sheet (Tata/Jindal) with Troughed Profile fixed with Non-corrosive fastner.(corroshield 55 mm length) and including all necessary accessories like foam closure, sealants etc. and Zinc-Alu Alloy coating AZ150 gsm as per ASTM A 792M Grade 345B with Coating Z150. | 27600 | SQFT
7 | Supply, fabrication & erection of tube section (GI Material) with steel conforming to Grade Yst310 applied with zinchromate primer(MRF) & enamel paint | 0 | KG
8 | Gutter PPGL 0.47mm Tck (0.67mm Girth) and Zinc-Alu Alloy coating AZ150 gsm as per ASTM A 792M Grade 345B. | 355 | RM
9 | PPGL Ridge flashing (0.47mm tck) and Zinc-Alu Alloy coating AZ150 gsm as per ASTM A 792M Grade 345B. | 40 | RM
10 | Corner Flashing PPGL 0.47mm (404mm girth) and Zinc-Alu Alloy coating AZ150 gsm as per ASTM A 792M Grade 345B. | 18 | RM
11 | Gable End Flashing PPGL 0.47mm (405mm girth) and Zinc-Alu Alloy coating AZ150 gsm as per ASTM A 792M Grade 345B. | 102 | RM
12 | Drip Flashing PPGL 0.47mm (300mmgirth) and Zinc-Alu Alloy coating AZ150 gsm as per ASTM A 792M Grade 345B. | 456 | RM
13 | Providing and fixing free spinning roof ventilator, works on free wind energy fitted with nylon Typhonic Bearing, Double top cap for permananent alignment of inverted cap design, corrugated foil framed vanes for rigity strength, protection against weather, highly sensitive roller bearing system to house upper and lower bearings having outer diameter of 31", effective throtal dia of 24" with Overall height of 19" fitted over the roof panel including weather selaing between the panel and the ventilator etc., complete | 100 | NOS

## Sheet1 (3) (hidden)
IMPEX PRODUCTION- BOQ
Price and Scope of Works:
Supply and installation of steel building structure.
S.NO | ITEM OF WORK | QTY | UNIT | RATE | AMOUNT
1 | Supply and installation of Primary (Built-up sections) fabricated from hot rolled steel plates & cold formed steel conforming to ASTM A 572M Grade 50 or equivalent with minimum yield strength of 345 MPa (TATA,JINDAL OR SAIL). All structural members should be blast cleaned to Sa1/2. And it should be applied 80μm epoxy primer(Zinc Phosphate) and two coats (each 60μm) of High Build polyamide cured epoxy coating paint. (Thickness mentioned are dry film thickness). All connections are bolted (for Roof trusses, Columns, Portal frames, Bracings, Claddings, Cleats, Purlins, Protection angle, hangers, base plates, stiffener plates, wind bracings, Tie rods, etc.,) | 131 | Tonne
2 | Supply and installation of Primary (Built-up sections) fabricated from hot rolled steel plates & cold formed steel conforming to ASTM A 572M Grade 50 or equivalent with minimum yield strength of 345 MPa (TATA,JINDAL OR SAIL). All structural members should be blast cleaned to Sa1/2. And it should be applied 80μm epoxy primer(Zinc Phosphate) and two coats (each 60μm) of High Build polyamide cured epoxy coating paint. (Thickness mentioned are dry film thickness). All connections are bolted (for Roof trusses, Columns, Portal frames, Bracings, Claddings, Cleats, Purlins, Protection angle, hangers, base plates, stiffener plates, wind bracings, Tie rods, etc.,) | 61 | Tonne
3 | Supply of FOUNDATION BOLTS of sizes ranging from 16mm to 24mm in diameter with washers, nuts,.It shall be hot dip galvanized. All Structural bolts shall confirm to the property class of 4.6 including anchor bolts in accordance with ASTM A36M ,including cost of threading etc., complete | 1.4 | Tonne
4 | Supply&installation of 0.45 mm TCT Galvalume colour coated roof sheet (Tata/Bhushan/Jindal) with Troughed Profile fixed with Non-corrosive fastner.(corroshield 55 mm length) and including all necessary accessories like foam closure, sealants etc.. and Zinc-Alu Alloy coating AZ150 gsm as per ASTM A 792M Grade 345B with Coating Z150. | 95988 | SQFT
5 | Supply & installation of 0.46 mm TCT aluminium water gutter of size 20 cm width, 12.5 cm and 15 cm depth on each side(refer dwg) fixed ms clamps.(ISA 25x25x5 mm) | 354 | M
6 | Supply&installation of 0.45 mm TCT Galvalume colour coated roof sheet (Tata/Jindal) with Troughed Profile fixed with Non-corrosive fastner.(corroshield 55 mm length) and including all necessary accessories like foam closure, sealants etc. and Zinc-Alu Alloy coating AZ150 gsm as per ASTM A 792M Grade 345B with Coating Z150. | 27600 | SQFT
7 | Supply, fabrication & erection of tube section (GI Material) with steel conforming to Grade Yst310 applied with zinchromate primer(MRF) & enamel paint | 1100 | KG
8 | Gutter PPGL 0.47mm Tck (0.67mm Girth) and Zinc-Alu Alloy coating AZ150 gsm as per ASTM A 792M Grade 345B. | 355 | RM
9 | PPGL Ridge flashing (0.47mm tck) and Zinc-Alu Alloy coating AZ150 gsm as per ASTM A 792M Grade 345B. | 177 | RM
10 | Corner Flashing PPGL 0.47mm (404mm girth) and Zinc-Alu Alloy coating AZ150 gsm as per ASTM A 792M Grade 345B. | 18 | RM
11 | Gable End Flashing PPGL 0.47mm (405mm girth) and Zinc-Alu Alloy coating AZ150 gsm as per ASTM A 792M Grade 345B. | 102 | RM
12 | Drip Flashing PPGL 0.47mm (300mmgirth) and Zinc-Alu Alloy coating AZ150 gsm as per ASTM A 792M Grade 345B. | 456 | RM
13 | Providing and fixing free spinning roof ventilator, works on free wind energy fitted with nylon Typhonic Bearing, Double top cap for permananent alignment of inverted cap design, corrugated foil framed vanes for rigity strength, protection against weather, highly sensitive roller bearing system to house upper and lower bearings having outer diameter of 31", effective throtal dia of 24" with Overall height of 19" fitted over the roof panel including weather selaing between the panel and the ventilator etc., complete | 100 | NOS