## Price Bid
THE LAWRENCE SCHOOL,LOVEDALE
PRICE BID / TENDER SCHEDULE
Name of Work : Allied works for providing semi indoor roof cover for existing basetball courts (4 nos) at senior school
Note: The school doesn't permit to use JCB / Bob cutter in the school campus. In case if JCB is compulsary for certain works, necessary permission to operate JCB / other earth mowing equiments to be obtained from Govt. authorites is under the scope of the contractor
S. NO | CATEGORY | DESCRIPTION OF WORK | Qty | UNIT | RATE | AMOUNT
A | GALLERY
1 | Excavation (Manual) | Excavating in trenches, not exceeding 1.5m wide and not exceeding 1.5m in depth; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc not exceeding 10 sqm on plan and not exceeding 1.5m in depth and getting out hard and dense soil. | 728.802 | Cum
1.a | Surface excavation (through JCB) | Earth excavation by deploying required earth mowing machineries (JCB) in soft/hard soil up to required depth as per the side condition etc all as specified and directed by the Engineer in charge. | RQ | Hrs
2 | Removal of excess earth | Removing excavated material and depositing with in 1.5KM radius all as specified and directed by the Engineer In-Charge.(approximate quantity ,vary upon site condition) | 346.4 | Cum
3 | Demolition | Demolition / dismantling of Concrete in ground floors, RR Masonry, Brick wall etc and paving’s not exceeding 45 cm thickness (below or above ground level)(approximate quantity ,vary upon site condition) | 131.2 | Cum
4 | Debris | Clearing the debris generated in this work to be transported from the site and deposited with in 2KM radius as directed by the Engineer in Charge. | 131.2 | Cum
5 | PCC 1:4:8 | Providing and laying of Plain Cement Concrete 1:4:8 (1cement : 4 fine aggregate : 8 coarse aggregate), machine mixed, using 40 mm downgraded hard granite broken stone aggregates, including formwork wherever required, cost and conveyance of all materials to site, lead and lift charges, labour charges, leveling, compacting, finishing, watering, curing, etc, complete as directed. Cement Grade - PPC 53. Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 25.17 | Cum
6 | RCC (1:1.5:3) | Providing Re-in-forced cement concrete in (1:1.5:3) in footings, plinth beam, lintel beam ,retaining wall, man hole covers, lintel and roof beam and roof slab etc . Including necessary steel form works. Props etc, all as specified and as directed. Cement Grade - PPC 53. Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 126.07 | Cum
7 | Reinforcement | Providing and fixing reinforcement for RCC Work with high yield strength, ribbed, cold twisted tor steel of various diameters of grade FE 415 Confirming to BIS specifications including cutting, bending, fabricating and placing in positions and binding the reinforcement with the use of 18 gauge galvanized annealed binding wire with double fold and providing pre cast cement cover blocks for main reinforcements to ensure specified cover according to relevant IS Code. The measurements will be in accordance with IS Code 1200. 288. Make - TATA / SAIL / JSW / Vizag | 11302.8 | Kgs
8 | Brick work | Material and Labour for Brickwork with subclass `B' bricks, straight or curved on plan exceeding 6m mean radius, built in CM (1:6) | 98 | Cum
9 | Plastering | Material and Labour for plastering 15 mm thick in CM(1:5) on fair / other than fair faces of brick work or concrete surfaces including finishing the surfaces even and smooth without using extra cement, including necessary scaffolding, etc., all as directed by the Engineer in-charge. Cement Grade - PPC 53 . Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 529.98 | Sqm
10 | Tiling (CERA Banglore stone tiles) | Providing and laying CERA Bangalore stone tiles 20mm on stepped gallery, including surface preparation, cleaning, applying suitable tile adhesive, proper alignment on risers and treads, grouting of joints, finishing, curing, and complete as directed Note: Sample to be approved by the school authorities. | 565.93 | Sqm
10(a) | Rough granite stone (Sadhar Ali Granite) | Providing & fixing machine cut rough granite stone 18 mm to 20 mm thick Sadarhalli granite stone for flooring, treads & risers of steps of approved colour & shade with rounded molding & three grooved line for the treads on bed of 1:4 cement mortar including float filling joints with neat cement slurry curing polishing & cleaning etc. sorting & pattern to be done, edge polish and Groove to be done. Note: Granite sample to be approved by the school authorities. | RQ | Sqm
11 | Apex Painting | Material and Labour for colour washing two coats of APEX painting on newly plastered wall over a coat of primer, ,one coat of wall putty for uniform and smooth finished surfaces of the walls including scraping and clearing the existing peel off paint etc all as specified and as directed. Make - Asian paints | 42.88 | Sqm
12 | Returning / refilling | Returning & filling the earth including spreading, leveling, watering and well ramming in layers not exceeding 25 cm. The earth to be excavated in a specified location lead not more than 1km by loading into tipper by means of JCB / manual. | 202.24 | Cum
13 | RR wall | Material and Labour for Walling of UnCoursed rubble masonry, coursed, well bonded, bedded and solidly hearted, built in CM (1:6) all as directed by engineer in charge. | 25.218 | Cum
14 | CR wall with pointing | Material and Labour for Walling of Coursed rubble masonry, coursed, well bonded, bedded and solidly hearted, built in CM (1:6) all as directed by engineer in charge. Note : Rate to include recess pointing at joints | 18.42 | Cum
15 | Cladding | Providing and fixing wall cladding of approved material and thickness on prepared surface, including cutting, dressing, fixing with suitable adhesive/mechanical fasteners, jointing, scaffolding, and all incidental works, complete as per drawings, specifications, and direction of Engineer-in-Charge. Natural stone wall cladding including supply and fixing of approved natural stone slabs, inclusive of cutting, dressing, edge finishing, laying, fixing with suitable adhesive/mortar, jointing, scaffolding, and all incidental works, complete as per drawings and directions of the Engineer-in-Charge. Approximate rate: ₹250 per sq ft and above. If tile cladding is adopted, the overall rate is expected to be lower | 26.9325 | Sqm
B | DRAINAGE WORK BEHIIND THE GALLERY
16 | Excavation | Excavating in trenches, not exceeding 1.5m wide and not exceeding 1.5m in depth; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc not exceeding 10 sqm on plan and not exceeding 1.5m in depth and getting out hard and dense soil.(approximate quantity might vary according to the site condition) | 657.34 | Cum
17 | PCC 1:4:8 | Providing and laying of Plain Cement Concrete 1:4:8 (1cement : 4 fine aggregate : 8 coarse aggregate), machine mixed, using 40 mm downgraded hard granite broken stone aggregates, including formwork wherever required, cost and conveyance of all materials to site, lead and lift charges, labour charges, leveling, compacting, finishing, watering, curing, etc, complete as directed. (approximate quantity might vary according to the site condition) Cement Grade - PPC 53. Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 9.17 | Cum
18 | RCC | Providing, Re in forced cement concrete in (1:1.5:3) in footings, plinth beam, lintel beam , retaining wall,man hole covers, lintel and roof beam and roof slab etc . Including necessary steel form works. Props etc, all as specified and as directed.(approximate quantity might vary according to the site condition) Cement Grade - PPC 53. Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 21.84 | Cum
19 | Reinforcement | Providing and fixing reinforcement for RCC Work with high yield strength, ribbed, cold twisted tor steel of various diameters of grade FE 415 Confirming to BIS specifications including cutting, bending, fabricating and placing in positions and binding the reinforcement with the use of 18 gauge galvanized annealed binding wire with double fold and providing pre cast cement cover blocks for main reinforcements to ensure specified cover according to relevant IS Code. The measurements will be in accordance with IS Code 1200. 288.(approximate quantity might vary according to the site condition) Make - TATA / SAIL / JSW / Vizag | 1986.336 | Kgs
20 | Hume pipe (2 feet dia) | Supplying and laying RCC spun pipe (heavy duty) of 2 feet , 2-inch wall thickness below ground level including required concrete base, collar, refilling, and consolidation etc all as specified and directed by the Engineer. | 250 | Rmt
21 | Hume pipe (1 feet dia) | Supplying and laying RCC spun pipe (heavy duty) of 300mm dia , 2-inch wall thickness below ground level including required concrete base, collar, refilling, and consolidation etc all as specified and directed by the Engineer.(approximate measurement) | 1.8 | Rmt
22 | Plastering | Material and Labour for plastering 15 mm thick in CM(1:5) on fair / other than fair faces of brick work or concrete surfaces including finishing the surfaces even and smooth without using extra cement, including necessary scaffolding, etc., all as directed by the Engineer in-charge.(approximate quantity might vary according to the site condition) Cement Grade - PPC 53 . Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 228.83 | Sqm
23 | Precast drain cover 600 mm* 600 mm* 75 mm thick | Material and labour for Precast cement concrete 1:2:4, type B1, using 20mm graded stone aggregate as in cover slabs with perforated holes for rain water draining as per the sample approved by the school authorities including setting in CM 1:4 all as specified and as directed. Note: The rate to be inclusive of providing reinforcement of 10mm diameter @ 150 mm c/c both ways | 158 | Nos
24 | Returning / refilling | Returning & filling the earth including spreading, leveling, watering and well ramming in layers not exceeding 25 cm. The earth to be excavated in a specified location lead not more than 1km by loading into tipper by means of JCB / manual.(approximate quantity ,vary upon site condition) | 167.72 | Cum
C | REVITMENT WALL, PODIUM & RAMP WORK
25 | Excavation | Excavating in trenches, not exceeding 1.5m wide and not exceeding 1.5m in depth; for foundation, etc. or for shafts, wells, cesspits, manholes, pier holes, etc not exceeding 10 sqm on plan and not exceeding 1.5m in depth and getting out hard and dense soil. | 436.4162 | Cum
26 | Returning / refilling | Returning & filling the earth including spreading, leveling, watering and well ramming in layers not exceeding 25 cm. The earth to be excavated in a specified location lead not more than 1km by loading into tipper by means of JCB / manual. | 121.776 | Cum
27 | RR wall | Material and Labour for Walling of UnCoursed rubble masonry, coursed, well bonded, bedded and solidly hearted, built in CM (1:6) all as directed by engineer in charge. | 50.8609 | Cum
28 | CR wall with pointing | Material and Labour for Walling of Coursed rubble masonry, coursed, well bonded, bedded and solidly hearted, built in CM (1:6) all as directed by engineer in charge. Note : Rate to include recess pointing at joints | 110.1296 | Cum
29 | PCC 1:4:8 | Providing and laying of Plain Cement Concrete 1:4:8 (1cement : 4 fine aggregate : 8 coarse aggregate), machine mixed, using 40 mm downgraded hard granite broken stone aggregates, including formwork wherever required, cost and conveyance of all materials to site, lead and lift charges, labour charges, leveling, compacting, finishing, watering, curing, etc, complete as directed. Cement Grade - PPC 53. Cement Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 7.1557 | Cum
30 | RCC | Providing, Re in forced cement concrete in (1:1.5:3) in footings, plinth beam, lintel beam , retaining wall,man hole covers, lintel and roof beam and roof slab etc . Including necessary steel form works. Props etc, all as specified and as directed. Cement Grade - PPC 53. Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 12.428 | Cum
31 | Reinforcement | Providing and fixing reinforcement for RCC Work with high yield strength, ribbed, cold twisted tor steel of various diameters of grade FE 415 Confirming to BIS specifications including cutting, bending, fabricating and placing in positions and binding the reinforcement with the use of 18 gauge galvanized annealed binding wire with double fold and providing pre cast cement cover blocks for main reinforcements to ensure specified cover according to relevant IS Code. The measurements will be in accordance with IS Code 1200. 288. Make - TATA / SAIL / JSW / Vizag | 2125.13 | Kgs
32 | Plastering | Material and Labour for plastering 15 mm thick in CM(1:5) on fair / other than fair faces of brick work or concrete surfaces including finishing the surfaces even and smooth without using extra cement, including necessary scaffolding, etc., all as directed by the Engineer in-charge. Cement Grade - PPC 53 . Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 96.31 | Sqm
33 | Precast drain cover 600 mm* 600 mm* 75 mm thick | Material and labour for Precast cement concrete 1:2:4, type B1, using 20mm graded stone aggregate as in cover slabs with perforated holes for rain water draining as per the sample approved by the school authorities including setting in CM 1:4 all as specified and as directed. Note: The rate to be inclusive of providing reinforcement of 10mm diameter @ 150 mm c/c both ways | 85 | Nos
34 | Tiling (CERA Banglore stone tiles) | Providing and laying CERA Bangalore stone tiles 20mm on stepped gallery, including surface preparation, cleaning, applying suitable tile adhesive, proper alignment on risers and treads, grouting of joints, finishing, curing, and complete as directed(only podium area is considered) | 139.6971 | Sqm
35 | Handrail | Providing and fixing handrails along ramps made of approved MS/steel section or steel core with wooden top, including cutting to size, drilling and countersinking for balusters and running bars, embedding in concrete/base plates, fixing with screws/bolts, welding where required, grinding sharp edges etc as per drawing and direction of Engineer-in-Charge Make - JSW / Apollo/Visag | 457.2 | Kgs
36 | Apoxy primer | Supply and applying epoxy primer with required thinner using approved epoxy joint filler, complete as directed | 30.9824 | Sqm
37 | Enamel Painting | Material and labour Painting two coats of synthetic enamel paint (Asian) in Wooden/metal surfaces over a coat of primer including preparation of old surfaces etc. and complete. Make - Asian paints | 30.9824 | Sqm
D | FENCING
38 | RCC footing for post | Providing, Re in forced cement concrete in (1:1.5:3) in footings, plinth beam, lintel beam , man hole covers, lintel and roof beam and roof slab etc . Including necessary steel form works. Props etc, all as specified and as directed. Cement Grade - PPC 53. Make - ACC / ULTRATECH / CORAMANDAL / CHETTINAD / DALMIA / SANKAR / RAMCO | 4.473 | Cum
39 | Reinforcement | Providing and fixing reinforcement for RCC Work with high yield strength, ribbed, cold twisted tor steel of various diameters of grade FE 415 Confirming to BIS specifications including cutting, bending, fabricating and placing in positions and binding the reinforcement with the use of 18 gauge galvanized annealed binding wire with double fold and providing pre cast cement cover blocks for main reinforcements to ensure specified cover according to relevant IS Code. The measurements will be in accordance with IS Code 1200. 288. Make - TATA / SAIL / JSW / Vizag | 1688.5728 | Kgs
40 | TATA wiron 3D mesh fencing | Supply and fixing of TATA WIRON 3D fencing for 8ft (2.438m) height including posts, 3d mesh TATA, installation, etc complete as per instructions by the Engineer In-charge Note: | 407.146 | Sqm
41 | TATA wiron 3D mesh gate | Supply and fixing of TATA WIRON 3D mesh gate for 8ft (2.438m) height including posts, 3d mesh TATA, installation, etc complete as per instructions by the Engineer In-charge | 12.19 | Sqm
E | ELECTRICAL WORKS
42 | Power cable | Supply and laying of 4 core 120 sq mm armoured Aluminium cable with necessary fittings etc Make - Havels/Finolex | 160 | Rmt
43 | Power cable | Supply, laying and termination of 4 core 50 sq mm armoured Aluminium cable with necessatry fittings etc Make Havels/Finolex | 200 | Rmt
44 | Power cable | Supply, laying and termination of 4 core 2.5 sqmm armoured copper cable with necessatry fittings etc Make Havels/Finolex | 400 | Rmt
45 | Cable termination | Providing cable end termination for 120 sqmm cable with necessary Gland, sockets, etc., | 2 | Sets
46 | Earth Excavation | Earth Excavation for burried cable trench with 1 meter depth, providing M sand, red brick and back filling,, etc., Note: Earth excavation has to be done manually, as the earth mowers is not fesible at above location. | 450 | Rmt
47 | Panel Board | Supply and installation of Floor mounted Electrical panel board with 16 swg MS sheet fabrication with Incomming feeder - 1 no. of 630 Amps FSU Outgoing feeder - 4 nos of 250 Amps FSU-4 along with necessary multifunction meter, LED Indication lamps, civil works for installation, etc., all as specified by the Engineer In-charge. Make - L&T or Siemens Coloour - Grey | 1 | Nos
48 | Earth pit | Providing earth pits with 17/24 mm copper bonded earth electrode, necessary compound, suitable clamps, cicil works for constructing the manhole pit, providing 2x2 FRP manhole cover and 8 SWG copper wire of 20 meter lengh, etc., | 2 | Nos
49 | DB | Supply and fixing of 8 way double door TPN DB with 100 Amps 4 pole MCB - 1 no 63 Amps 4 pole MCB - 2 nos 16 amps 2 pole MCB - 10 nos with necessatry fittings etc Make Havels | 1 | Sets
50 | DB | Supply and fixing of 4 way SPN single door DB with 10 Amps 2 pole MCB - 1 no 16 amps 30 MA RCCB - 1 no with necessatry fittings etc Make Havels | 10 | Sets
51 | Wiring | Supply and wiring of 2.5 sqmm wire 2 runs and 1.5 sqmm wire 1 run in 3/4" PVC conduit (2mm thick) along with necessary scuffolding, clamps, fittings, etc., Make Finolex/Havels | 600 | Rmt
52 | Power Socket | Supply and fixing of 16 amps metal clad power socket with 16 amps single pole MCB. Make Havels | 8 | Nos
53 | Speaker Wiring | Supply and wiring of 14 swg Speaker cable in 3/4" PVC conduit (2mm thick) with necessary scuffolding, clamps, fittings, etc., | 400 | Rmt
54 | LED Lights | Supply and fixing of 400 watts LED flood lights with necessary scuffolding, clamps, fittings, etc., Make - Jaquar Model - LS400XC LED SLIM FLOOD LIGHT 400W CW | 50 | Nos
TOTAL (A TO F)
GST @ 18%
GRAND TOTAL
Signature of the Contractor